**User Manual**

1. Connect MICRO-200 with computer by data line, the tester would be turned on automatically.

2. Open the folder “Analyser of MICRO-200” and open this file.



1. If this is the first time to open it, the driver would be installed automatically.

4. If you open the driver before you connect the tester with computer, it will display:



5. Please click “Cancel” and reuse it after you connect the tester with computer.



6. When open the operation interface is as below. The

left side is data display interface, the right side is the data for our company research, you can ignore it.



1. Choose the “Print Data” in the tester, then your last test result will be displayed on the soft.



8. Click “Save as” to save your last test result.

9. Any questions, please contact us.

Lancol Corporation

+86-28-85272353

Email: [sales-2@lancol.com](mailto:sales-2@lancol.com)

Sale-3@lancol.com

<http://lancol.en.alibaba.com/>

[www.lancol.com](http://www.lancol.com)